01	Health and safety procedures

01.9	Maintenance and repairs

Any faulty equipment or building fault at Medstead Pre-school & Nursery is recorded, including:

- Date fault noted.

- Item or area faulty.

- Nature of the fault and priority.

- Is a risk assessment required?

- Who the fault was reported to for action.

- Action taken, when and by whom.

- If no action taken by the agreed date, when and by whom the omission is followed up.

- Date action completed.

Any area that is unsafe because repair is needed, such as a broken window, should be made safe and separated off from general use.

- Any broken or unsafe item is taken out of use and labelled ‘out of use’.

- Any specialist equipment (e.g. corner seat for a disabled child) which is broken or unsafe should be returned to the manufacturer or relevant professional.

- Any item that is beyond repair is condemned. This action is recorded as the action taken and the item is removed from the setting’s inventory.

- Condemning items is done in agreement with the setting manager. Condemned items are then disposed of appropriately and not stored indefinitely on site.

- Where maintenance and repairs involve a change of access to the building whilst repairs are taking place, then a risk assessment is conducted to ensure the safety and security of the building is maintained.